## Smart Station
N(New) | New features in this version
E(Ehance) | Enhanced features in this version
M(Maintain) | No changes; features carried over from the previous version
D(Delete) | Features removed in this version
N/A | This version does not yet support this feature
First-level Features | Second-level Features | Tertiary Features | Feature Description | V1.0 | Remarks
Smart Station | User Authentication | Login/Logout/Change Password
|  | Station Equipment Overview | Station Building Structure Display Station Equipment Model Display Equipment Status Monitoring Equipment Details | N
Dashboard
|  | Station Equipment Overview | Station Building Structure Display Station Equipment Model Display Equipment Status Monitoring Equipment Details
|  | Passenger Flow Information | Displays real-time passenger entry and exit figures, as well as cumulative passenger entry and exit figures | N
|  | Signalling Data | Displays the arrival and departure times of the most recent train | N
|  | BAS Environmental Information | Displays real-time temperature, humidity and CO₂ levels in the concourse and on the platform | N
|  | Alarm Manager | Displays data on equipment currently triggering alarms at the station | N
One-Click Station Activation/Deactivation
|  | One-Click Station Activation | Executes the one-click station activation procedure to trigger the operation of on-site equipment | N
|  | One-Click Station Shutdown | Executes the one-button station shutdown procedure to trigger the operation of on-site equipment | N
|  | Station Activation/Deactivation Records | Supports querying historical station activation/deactivation records and results | N
Video Inspection
|  | Video Inspection | Supports the configuration of custom inspection routes and inspection cameras | N
|  | History | Supports querying historical video inspection records | N
Equipment Inspection
|  | Equipment Inspection | Supports configuration of custom inspection devices | N
|  | History | Supports querying historical equipment inspection records
Electronic Contingency Plans
|  | Electronic Contingency Plans | Supports the configuration of different types of contingency plan content | N
|  | History | Supports querying records of previously triggered contingency plan outcomes | N
Platform Services | Equipment Monitoring Service
|  | Equipment Monitoring | Retrieve real-time equipment status data | N
Linkage Service
|  | Station Activation/Deactivation Workflow | Subscribe to, push and execute station activation/deactivation plans | N
Simulator Service
|  | Simulator | Supports change-of-state simulation for teleindication, telemetry, telepulse and teleadjustment | N
Intelligent Analysis System (O&M) | PSD System
|  | System Homepage | Integrates line-level and station-level visualisation interfaces, provides visual display of alarms across all stations on the line, supports custom widgets, and allows clicking a station to navigate to the single-station interface, achieving integrated monitoring from the entire line to individual stations.
|  | Key Components Dashboard | Monitors four core components: DCU, motor, electromagnetic lock and door body. Collects electrical parameters, analyses operational trends, assesses component health, and pushes early warnings and maintenance recommendations for performance degradation and mechanical hazards.
|  | Power System Monitoring | Collects status data from power cabinets and battery packs, generates a power dashboard, supports real-time viewing and historical playback, performs one-click intelligent inspection and automatically generates archived reports, replacing manual on-site inspections.
|  | Action Record Analysis | Collects switching and analogue data from door opening/closing operations, verifies action timing, analyses current and speed curves, locates the root cause of command anomalies, identifies door body hazards in advance, and supports fault diagnosis and preventive maintenance.
|  | Data Statistical Analysis | Displays alarm situations across the line at multiple levels, statistics core O&M indicators, locates high-frequency fault components through various ranking charts, assesses equipment health status, and assists O&M decision-making.
AFC System
|  | System Homepage | Adopts a visualised network topology interface to graphically display the status of AFC terminals such as ticket gates and TVMs, as well as network links. Supports station-wide or equipment room zone-based viewing, distinguishes alarm levels by colour, allows hovering to view equipment information, supports custom topology layout, and achieves centralised visual monitoring of station AFC equipment.
|  | Equipment Module-level Monitoring | Conducts refined component monitoring for ticket gates and TVMs, displays the status of components such as power supplies and card readers through internal structure wireframe diagrams, simultaneously collects operating conditions of each module, equipment operation timing and passenger flow data, achieving component-level visualisation and supporting rapid module-level fault localisation.
|  | Intelligent Statistical Analysis & Decision-making | With a 15-minute collection granularity, statistics equipment integrity rate and fault frequency, and generates reliability heatmaps; dynamically calculates MTBF, builds a maintenance priority matrix combined with equipment utilisation rate, and pushes preventive maintenance recommendations. Statistics gate opening/closing frequency, provides equipment start/stop optimisation strategies, automatically generates multi-period O&M reports, and assists O&M decision-making.
Communication System
|  | System Homepage | The line overview homepage integrates multiple types of O&M dashboards, visually displays the operation, alarm statistics and fault rankings of all stations on the line, provides flashing alarms for abnormal stations, supports viewing alarm details, and achieves centralised monitoring and rapid handling of communication faults across the line.
|  | Equipment Monitoring Function | Covers multiple communication subsystems, provides cabinet simulation and network topology monitoring, flashing alarms for equipment anomalies, allows querying of real-time parameters, alarms and historical data, achieving status awareness and fault localisation for all communication domain equipment.
|  | End-to-End Intelligent Analysis Function | Displays the full-service-link topology, highlights alarm nodes in red, supports alarm normalisation and aggregation, clarifies fault propagation relationships, rapidly locates link fault positions, and achieves full-link fault traceability analysis for communication services.
|  | Wireless Performance Intelligent Analysis | For the vehicle-to-ground wireless system, collects signal strength of trackside and on-board APs, presents signal status through charts, identifies weak signal points,troubleshoot hazards in advance, and ensures stable operation of the vehicle-to-ground wireless communication link.
Integrated Monitoring System
|  | Host Performance Monitoring | Completes the monitoring capability for underlying facilities of the integrated monitoring system, collects multi-dimensional indicators of equipment such as servers and switches,troubleshoot system hazards in advance, and ensures stable platform operation.
|  | Equipment Condition Assessment | Builds a multi-dimensional health analysis model, identifies equipment ageing and degradation combined with operation and work order data, predicts hidden faults, and ensures reliable operation of various electromechanical equipment.
Escalator & Elevator Intelligent O&M
|  | Equipment Monitoring Function | Addressing the complex on-site conditions of escalators and elevators and the low efficiency of manual inspection, continuously monitors equipment component parameters, compares data using dynamic thresholds, provides graded alarms based on a three-level risk early warning system, feeds back equipment status in real time, and supports remote fault diagnosis and troubleshooting.
|  | Intelligent Analysis & Diagnosis Function | Fuses conventional, medium-low frequency and high-frequency vibration noise multi-source data, completes fault feature matching after multi-step signal processing, calculates fault probability at the complete machine-module-component hierarchy, automatically provides early warnings when thresholds are exceeded, and achieves early identification and prediction of escalator and elevator faults.
|  | Trend Retrospection Function | Supports viewing real-time and historical analogue curves of equipment measurement points, allows configuring self-adaptively adjusting alarm baselines for individual curves, and enables O&M personnel to retrieve component curves before and after abnormal time points for fault retrospective analysis.
|  | Spectrum Analysis Function | Performs signal processing such as time-frequency domain and envelope demodulation on vibration data, displays multi-dimensional vibration waveform spectra; automatically or custom-adds fault marker lines, calculates harmonic sideband energy, and assists experts in manual fault diagnosis and localisation.

## Smart Commerce - Partner (hidden)
Feature Category | Feature ID | Feature Name | Feature Description
Functional Requirements | AR.01.03 | Precision Investment Promotion | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) Using big data technology and investment promotion funnel analysis algorithms to achieve precision investment promotion. Specifically, an investment promotion evaluation model is built, using internet data and store location information to analyse which types of business formats are suitable for different areas and what scale each store should be set to, achieving the effect of precision investment promotion.
Functional Requirements | AR.01.04 | Commercial Customer Profiling | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) Based on face recognition and human morphology, applying deep learning technology and ReID technology to accurately recognise faces and human bodies. After analysis and comparison, basic attributes such as different age groups and genders are intelligently analysed. Combined with other information (such as the model of car the customer drives, clothing, etc.), attributes such as customer consumption level can be obtained. Mining customer movement data in the hub, analysing consumption preferences of different customers based on movement data, more effectively and targetedly formulating marketing plans, comprehensively promoting and improving service experience, achieving efficient and multi-dimensional customer expansion effects, and improving customer satisfaction and bag-carrying rate. Meanwhile, commercial management personnel can set filter conditions according to actual needs, filter out target users, and then conduct targeted precision marketing through WeChat, SMS and other methods.
Functional Requirements | AR.01.05 | Commercial Store Profiling | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) Through statistics and analysis of store data, key data linked to store operation analysis such as store popularity, ratio of new and returning customers, average store dwell time, number of passers-by, and number of store entries are obtained. Based on the analysis, store profiles are derived, and corresponding commercial strategies such as format replacement and traffic diversion are implemented for different stores.
Functional Requirements | AR.01.06 | Intelligent Advertisement Push | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) The intelligent advertisement push system can realise real-time control and refined management of all advertisements in the hub. The system provides each merchant with an online entry, including merchant appearance image, brand introduction, service phone number (clicking the service phone number allows direct dialing), merchant location, merchant introduction, as well as merchant-related products, coupons, promotional activities and other content. The content is configured in the management backend, reviewed by commercial management personnel, and then automatically displayed on specific pages of the APP and WeChat Mini Program to achieve the purpose of promotion and advertising.
Functional Requirements | AR.01.07 | Store Activity Display | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) Can provide store activity display for various commercial customers in the hub. For example, the food and beverage section centrally displays catering merchants, including introductions of each catering merchant, average consumption per person, merchant location, merchant phone number, recommended dishes, product discounts, user reviews, etc. Passengers can get queue numbers, order in advance and pay online on the WeChat Mini Program.
Functional Requirements | AR.01.08 | Online Booking | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) Passengers can realise online booking, online queue numbering and online ordering services through the WeChat Mini Program or APP. The program interfaces with Meiwei Buxudeng or other third-party queue numbering systems, allowing online collection of waiting numbers which are queued in the same sequence as those collected on-site. This enables remote mobile phone queue numbering, viewing of queue calling status, approaching call reminders, and queue cancellation operations.
Functional Requirements | AR.01.09 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.10 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.11 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.12 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.13 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.14 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.15 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.16 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.17 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.18 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.
Functional Requirements | AR.01.19 | Location & AR Navigation Application | (User Requirements Specification for Electromechanical Equipment and Materials of the Integrated Construction Project of Guangzhou Baiyun (Tangxi) Station Comprehensive Transport Hub) 1. Using the wireless coverage network provided by the WiFi 6 system to provide location services for passengers inside the hub. Based on the WeChat Mini Program or APP, an integrated navigation system inside and outside the hub is developed to provide passengers with integrated positioning and navigation services inside and outside the hub through terminal devices such as smartphones. 2. The navigation system provides passengers with a point-of-interest information query platform based on positions inside and outside the station, providing queries for service facilities in the hub, commercial queries, surrounding landmark buildings, surrounding well-known enterprises, restrooms, shops, dining, hotels and other points of interest. The electronic map must integrate store access channels. 3. The navigation system performs navigation and planning based on the passenger's destination, meeting passenger travel location query needs; supports integrated AR navigation services inside and outside the hub. 4. The navigation system provides indoor map surveying and mapping, and provides passengers with indoor and outdoor positioning AR navigation services based on internet maps. The electronic map can reflect in real time the passenger flow density of each block in the current hub and surrounding road congestion. The electronic map must be able to interface with common electronic map software, and software switching should be avoided as much as possible during use.

## Feature Spec Desc - Backup (hidden)
L1 Feature Category | L2 Feature Category | Feature ID | Feature Name | Specification Description | Specification Notes
Intelligent Ground Service Dispatch | Process Management | AR.01.01.001 | Operational Status Monitoring | The system provides a real-time, synchronised graphical operation and query tool for flight guarantee processes and task process status of operating personnel, facilitating user command dispatch and guarantee information query. Operational plans can be formulated and monitored in real time, and the system provides functions for post-operation reports and performance evaluation. | Feature - Application
|  | AR.01.01.002 | Status Publishing | The system integrates flight information, task execution information, and personnel status (qualifications, attendance, etc.) information, automatically publishes flight dynamic messages, and changes in various information statuses can be updated in real time. | Feature - Application
|  | AR.01.01.003 | Data Entry | The system provides a graphical interface allowing airports or airlines to enter data related to various operation guarantee activities, such as personnel, vehicles, aircraft and other data entry. | Feature - Application
|  | AR.01.01.004 | Process Monitoring & Management | The system can obtain the work start time, work completion time, operation result feedback information and resource utilisation of operating personnel through various methods. It also has process management functions, with automatic and manual adjustment functions for the process monitoring workflow under various abnormal guarantee requirement conditions such as flight plan adjustment, delay and cancellation. | Feature - Application
|  | AR.01.01.005 | Dispatch Command Issuing | Can issue relevant dispatch commands based on flight guarantee status and send them in real time to the dispatch positions of each guarantee unit or on-site operating personnel. The system provides message sending and receiving services through various information interaction methods (APP, SMS, etc.). | Feature - Application
|  | AR.01.01.006 | Query & Statistics | Provides related business query and statistics functions including daily operation statistics, service flight statistics, etc., and can be exported through reports. | Feature - Application
| Dispatch Management | AR.01.02.001 | Pre-dispatch | Based on the dispatch strategies, personnel grouping and personnel status of each department and position, matching task rules to automatically generate dispatch plans, and combining with future available resource conditions for task pre-allocation. | Feature - Application, Algorithm
|  | AR.01.02.002 | Real-time Dispatch | Based on the daily dispatch plan generated by pre-dispatch, real-time dispatch adjustments are made according to the day's flight dynamics and task execution status, and real-time allocation of personnel and resources required for flight guarantee is performed. | Feature - Application, Algorithm
|  | AR.01.02.003 | Conflict Adjustment | The system provides automatic adjustment solutions based on task conflict situations for user evaluation and selection, while also supporting manual adjustment functions. | Feature - Application, Algorithm
|  | AR.01.02.004 | Dispatch Rule & Policy Management | The system provides a rule setting interface, which cooperates with the algorithm rule engine to realise configuration management of various rules through the page, such as qualification constraint rules, shift rules (fixed, flexible, work-rest patterns), commuting time rules, labour law constraint rules, long-term leave rules, etc. Scheduling strategies are formed through combinations of different rules. | Feature - Application, Algorithm
|  | AR.01.02.005 | Exception Handling | Provides comprehensive exception handling functions. Exception alarms for rule violations (labour time, position qualifications, etc.), time conflicts, etc. can be defined, and users can define the alarm level according to actual needs, or specify whether to display the alarm on the interface. | Feature - Application
|  | AR.01.02.006 | Dispatch Result Write-back | Dispatch results can be distributed to the APP and terminals of production operation personnel through the ground service system. | Feature - Application
|  | AR.01.02.007 | Query & Statistics | Can provide query and statistics functions for employee lists, flight guarantee and non-flight guarantee working hours, workload, guarantee resources (various personnel, vehicles), etc., and can be exported through reports. | Feature - Application
| Statistical Reports | AR.01.03.001 | View Statistical Indicators | • Provides core indicator display functions such as working hour statistics and dispatch result statistics; • Supports display in tables and charts; | Feature - Application
|  | AR.01.03.002 | Combined Selection | • After the user selects a time window, supports selecting statistical indicators by quarter, month, week or day; • Supports dimension viewing by overall/ground service/aircraft/trade; • Supports combined selection of multiple elements for viewing; | Feature - Application
| Algorithm Functions | AR.02.03.001 | Optimisation Objectives | Establish an operations research optimisation algorithm library + planning modelling to realise automatic intelligent dispatch, reduce the workload of dispatchers, improve dispatch efficiency while making on-site operation allocation more reasonable; | Feature - Application
|  | AR.02.03.002 | Rule Engine | The rule engine is flexible and configurable: including flexible configuration of task generation rule configuration, personnel qualification configuration, dispatch rule engine configuration, etc., to meet the needs of continuous business development; | Feature - Application
|  | AR.02.03.003 | Interface Integration | Through the method of algorithm + application, standard interfaces are provided to fully integrate with existing systems; | Feature - Application
| Performance | AR.01.01.001 | Batch Pre-allocation Performance Requirements | For airports with a magnitude of 1500 flight sorties, complete batch automatic pre-dispatch within 3 minutes; | Performance - Algorithm
|  | AR.01.01.002 | Real-time Allocation Adjustment Performance Requirements | Real-time dispatch and conflict adjustment completed within 30 seconds; | Performance - Algorithm
|  | AR.01.01.003 | Allocation Rationality Requirements | Achieve balanced working hours for operating personnel, with the target effective working hour rate increased by >10%. | Performance - Algorithm
| Reliability | AR.01.02.001 | 7×24 Fault-free Operation | The system can operate normally 24 hours a day, 365 days a year, and the system itself has high reliability and excellent performance. | Reliability
|  | AR.01.02.002 | High Reliability | The system supports cluster or dual-machine active-standby deployment. | Reliability
| Manageability | AR.01.03.001 | Configuration Management | The system provides a user management platform to configure system optimisation indicators, rules and constraint conditions, and provides basic account allocation and permission configuration functions. | Manageability
|  | AR.01.03.002 | Log Management | The system can operate stably 7×24 hours, and records the operation of each module and microservice in the logs. | Manageability
|  | AR.01.03.003 | Alarm Management | The system provides a detection mechanism for service health status. | Manageability
| Scalability | AR.01.04.001 | Flexible Rule Extension & Configuration | When airports add new personnel, organisational adjustments occur, or rules change, the system can adapt to new changes through backend configuration, frontend adjustment and other methods to match actual business department needs. | Scalability
| Interface Features | AR.02.01.001 | Data Acquisition | The system will periodically obtain various types of airport data through API interfaces or real-time messages opened by ROMA (or airport bus), and perform allocation calculations based on this, supporting data sharing and synchronisation with third-party systems. | Interface Features
| Interface Features | AR.02.01.002 | Data Publishing (Write-back) | The system can provide publishing interfaces according to actual needs through the real-time message channel of ROMA (or airport bus); | Interface Features
| Interface Features | AR.02.01.003 | Data Real-time Performance | Through the interfaces opened by ROMA (or airport bus), the data acquisition delay for a single record does not exceed 1 second, and batch processing is within 1 minute. | Interface Features
| Usability | AR.03.02.001 | System Availability | The system functions are complete, can complete the interaction of the full business flow and achieve established business objectives. | Usability
| Usability | AR.03.02.002 | Interface Aesthetics | The interface composition is reasonable, key points are highlighted, and the design style is comfortable and minimalist. Through colours and specific design elements, it gives people a good experience. | Usability
| Usability | AR.03.02.003 | Layout Rationality | The interface information structure is unified, the hierarchy is clear and distinct, and through verified arrangement, colour and hierarchy design, users can quickly understand the system content. | Usability
| Usability | AR.03.02.004 | Operational Convenience | Key functions can be conveniently realised through common components, pop-ups, dragging and other operations. The steps are clear and the operation is smooth. | Usability